## Sheet1
Index | Calculation Method | NB Slices | AVG mAs | STD mAs | AVG mA | STD mA | AVG CTDI (mGy) | STD CTDI (mGy) | AVG SSDE (mGy) | STD SSDE (mGy) | AVG WED (cm) | STD WED (cm) | AVG Truncation Correction | STD Truncation Correction | AVG Truncation Fraction | STD Truncation Fraction | AVG Body Area (cm²) | STD Body Area (cm²) | AVG Reconstruction Diameter (mm) | STD Reconstruction Diameter (mm) | AVG Collection Diameter (mm) | STD Collection Diameter (mm) | AVG Offset Horizontal (mm) | STD Offset Horizontal (mm) | AVG Offset Vertical (mm) | STD Offset Vertical (mm) | AVG Offset Radial (mm) | STD Offset Radial (mm) | AVG GNL Soft Tissue - ST 3mm (HU) | STD GNL Soft Tissue - ST 3mm (HU) | AVG GNL Soft Tissue (HU) | STD GNL Soft Tissue (HU) | Soft Tissue - Low (HU) | Soft Tissue - High (HU) | AVG Soft Tissue Area (cm²) | STD Soft Tissue Area (cm²) | AVG Soft Tissue in body (%) | STD Soft Tissue in body (%) | AVG GNL Fat Tissue - ST 3mm (HU) | STD GNL Fat Tissue - ST 3mm (HU) | AVG GNL Fat Tissue (HU) | STD GNL Fat Tissue (HU) | Fat Tissue - Low (HU) | Fat Tissue - High (HU) | AVG Fat Tissue Area (cm²) | STD Fat Tissue Area (cm²) | AVG Fat Tissue in body (%) | STD Fat Tissue in body (%) | AVG GNL Lung Tissue - ST 3mm (HU) | STD GNL Lung Tissue - ST 3mm (HU) | AVG GNL Lung Tissue (HU) | STD GNL Lung Tissue (HU) | Lung Tissue - Low (HU) | Lung Tissue - High (HU) | AVG Lung Tissue Area (cm²) | STD Lung Tissue Area (cm²) | AVG Lung Tissue in body (%) | STD Lung Tissue in body (%) | AVG GNL Bone Tissue - ST 3mm (HU) | STD GNL Bone Tissue - ST 3mm (HU) | AVG GNL Bone Tissue (HU) | STD GNL Bone Tissue (HU) | Bone Tissue - Low (HU) | Bone Tissue - High (HU) | AVG Bone Tissue Area (cm²) | STD Bone Tissue Area (cm²) | AVG Bone Tissue in body (%) | STD Bone Tissue in body (%) | AVG GNL Qaelum Soft Tissue - ST 3mm (HU) | STD GNL Qaelum Soft Tissue - ST 3mm (HU) | AVG GNL Qaelum Soft Tissue (HU) | STD GNL Qaelum Soft Tissue (HU) | Qaelum Soft Tissue - Low (HU) | Qaelum Soft Tissue - High (HU) | AVG Qaelum Soft Tissue Area (cm²) | STD Qaelum Soft Tissue Area (cm²) | AVG Qaelum Soft Tissue in body (%) | STD Qaelum Soft Tissue in body (%) | AVG GNL dsf - ST 3mm (HU) | STD GNL dsf - ST 3mm (HU) | AVG GNL dsf (HU) | STD GNL dsf (HU) | dsf - Low (HU) | dsf - High (HU) | AVG dsf Area (cm²) | STD dsf Area (cm²) | AVG dsf in body (%) | STD dsf in body (%) | Mask Kernel (mm) | Mask Kernel (px) | kVp | Kernel | FOV (mm) | Slice Thickness (mm) | Pixel Size (mm) | Pitch | Protocol | Procedure | Total Collimation (mm) | Single Collimation (mm) | Study Date | Exposure Time (ms) | Revolution Time (s) | Folder | Matrix Size | Study Comments | Study Description | Path | PACSID | Manufacturer | Model | Station | Channels | Software Version | Filter Type | Exposure Modulation Type | Acquisition Type | Patient Sex | Patient Age (y) | Body Part Examined | Patient ID
0 | GNL X SLICE | 40 | 20 | 0 | 60 | 0 |  |  |  |  | 25.3399 | 1.9158 | 1.0098 | 0.0086179 | 0.15739 | 0.1027 | 664.1887 | 63.4853 | 330 | 0 | 500 | 0 | [6 empty] | 27.6273 | 6.8969 | 21.4 | 5.3423 | 0 | 170 | 200.3956 | 64.252 | 0.3041 | 0.09497 | 22.3019 | 5.1961 | 17.275 | 4.0248 | -300 | 0 | 242.8984 | 37.2371 | 0.36823 | 0.060242 | 29.2752 | 4.858 | 22.6765 | 3.763 | -inf | -600 | 183.2895 | 104.4715 | 0.26936 | 0.15051 | 190.0989 | 30.7866 | 147.25 | 23.8472 | 300 | inf | 14.9371 | 6.9816 | 0.023688 | 0.014326 | 25.8199 | 6.8678 | 20 | 5.3198 | -300 | 300 | 455.9297 | 95.2299 | 0.69212 | 0.15028 | 26.6268 | 6.453 | 20.625 | 4.9984 | -inf | 170 | 636.6159 | 72.521 | 0.95651 | 0.023356 | 6 | 9 | 120 | B30f | 330 | 5 | 0.64453 |  | 10_Nelson | ct thorax 31 |  |  | 20041130 | 500 |  | Studie_003_02_B30f_AXIAL | 512x512 |  | ct thorax 31, | D:\Abstract ECR\Data\LDCT - NELSON\Studie_003\Studie_003_02_B30f_AXIAL | Studie_003_02_B30f_AXIAL | SIEMENS | Sensation 16 |  |  | VA70C | 0 |  |  | F | 052Y | CHEST | Studie_003
1 | GNL X SLICE | 40 | 20 | 0 | 60 | 0 |  |  |  |  | 25.2982 | 1.9558 | 1.0047 | 0.0042921 | 0.12325 | 0.081258 | 664.8884 | 63.9239 | 330 | 0 | 500 | 0 | [6 empty] | 94.0071 | 19.8502 | 162.825 | 34.3816 | 0 | 170 | 132.481 | 13.6121 | 0.20211 | 0.03636 | 88.4934 | 20.4071 | 153.275 | 35.3461 | -300 | 0 | 227.7221 | 18.2772 | 0.3457 | 0.043593 | 67.418 | 17.4198 | 116.7714 | 30.172 | -inf | -600 | 180.5425 | 101.493 | 0.26473 | 0.14591 | 126.2232 | 28.8595 | 218.625 | 49.9861 | 300 | inf | 37.698 | 23.2618 | 0.057272 | 0.03391 | 92.6792 | 20.2591 | 160.525 | 35.0899 | -300 | 300 | 408.3689 | 45.3593 | 0.62113 | 0.10029 | 86.386 | 22.3251 | 149.625 | 38.6683 | -inf | 170 | 579.0247 | 73.6971 | 0.86941 | 0.058007 | 6 | 9 | 120 | B60f | 330 | 1 | 0.64453 |  | 10_Nelson | ct thorax 31 |  |  | 20041130 | 500 |  | Studie_003_03_B60f_AXIAL | 512x512 |  | ct thorax 31, | D:\Abstract ECR\Data\LDCT - NELSON\Studie_003\Studie_003_03_B60f_AXIAL | Studie_003_03_B60f_AXIAL | SIEMENS | Sensation 16 |  |  | VA70C | 0 |  |  | F | 052Y | CHEST | Studie_003
2 | GNL X SLICE | 40 | 20 | 0 | 60 | 0 |  |  |  |  | 25.0359 | 2.7129 | 1 | 1.4336e-10 | -0.0010062 | 4.5236e-05 | 667.9644 | 52.9644 | 450 | 0 | 500 | 0 | [6 empty] | 25.8522 | 8.5901 | 20.025 | 6.6539 | 0 | 170 | 267.6066 | 78.9808 | 0.40748 | 0.13457 | 46.5081 | 15.0041 | 36.025 | 11.6222 | -300 | 0 | 152.7085 | 52.7675 | 0.23264 | 0.08934 | 25.2205 | 6.6501 | 19.5357 | 5.1512 | -inf | -600 | 202.0493 | 151.2234 | 0.29036 | 0.21355 | 163.2186 | 47.2725 | 126.4286 | 36.6172 | 300 | inf | 21.5335 | 10.0561 | 0.033352 | 0.018988 | 26.3686 | 8.9948 | 20.425 | 6.9674 | -300 | 300 | 434.7813 | 123.4483 | 0.66232 | 0.21517 | 26.9495 | 8.6996 | 20.875 | 6.7386 | -inf | 170 | 631.9647 | 63.3088 | 0.94444 | 0.028556 | 6 | 7 | 120 | B30f | 450 | 5 | 0.87891 |  | 10_Nelson | ct thorax 31 |  |  | 20041123 | 500 |  | Studie_009_02_B30f_AXIAL | 512x512 |  | ct thorax 31, | D:\Abstract ECR\Data\LDCT - NELSON\Studie_009\Studie_009_02_B30f_AXIAL | Studie_009_02_B30f_AXIAL | SIEMENS | Sensation 16 |  |  | VA70C | 0 |  |  | M | 061Y | CHEST | Studie_009
3 | GNL X SLICE | 40 | 20 | 0 | 60 | 0 |  |  |  |  | 25.0953 | 2.7326 | 1 | 1.4587e-10 | -0.00097797 | 4.7139e-05 | 670.6412 | 51.8155 | 450 | 0 | 500 | 0 | [6 empty] | 82.3157 | 26.4899 | 142.575 | 45.8819 | 0 | 170 | 157.7342 | 15.9333 | 0.2384 | 0.043383 | 82.9797 | 26.0051 | 143.725 | 45.0422 | -300 | 0 | 189.5469 | 38.1583 | 0.28693 | 0.072736 | 50.5281 | 14.7855 | 87.5172 | 25.6093 | -inf | -600 | 202.9955 | 148.6584 | 0.29096 | 0.20905 | 120.9093 | 27.5524 | 209.4211 | 47.7221 | 300 | inf | 42.682 | 25.4438 | 0.065391 | 0.040213 | 82.4889 | 25.7223 | 142.875 | 44.5523 | -300 | 300 | 400.6054 | 74.8415 | 0.60695 | 0.15003 | 78.2454 | 29.7722 | 135.525 | 51.5669 | -inf | 170 | 574.635 | 86.5669 | 0.85298 | 0.079041 | 6 | 7 | 120 | B60f | 450 | 1 | 0.87891 |  | 10_Nelson | ct thorax 31 |  |  | 20041123 | 500 |  | Studie_009_03_B60f_AXIAL | 512x512 |  | ct thorax 31, | D:\Abstract ECR\Data\LDCT - NELSON\Studie_009\Studie_009_03_B60f_AXIAL | Studie_009_03_B60f_AXIAL | SIEMENS | Sensation 16 |  |  | VA70C | 0 |  |  | M | 061Y | CHEST | Studie_009
4 | GNL X SLICE | 40 | 20 | 0 | 60 | 0 |  |  |  |  | 25.7358 | 2.1386 | 1.0034 | 0.0050089 | 0.081359 | 0.091831 | 708.1491 | 66.1311 | 372 | 0 | 500 | 0 | [6 empty] | 27.0463 | 6.5635 | 20.95 | 5.084 | 0 | 170 | 261.9623 | 62.3393 | 0.37713 | 0.10838 | 39.2785 | 18.5223 | 30.425 | 14.3473 | -300 | 0 | 171.5561 | 44.1196 | 0.24832 | 0.082548 | 27.0302 | 6.3733 | 20.9375 | 4.9367 | -inf | -600 | 221.1774 | 144.9099 | 0.29742 | 0.18842 | 167.0224 | 48.4851 | 129.375 | 37.5564 | 300 | inf | 25.5645 | 12.2061 | 0.037472 | 0.021401 | 27.0786 | 7.068 | 20.975 | 5.4749 | -300 | 300 | 450.158 | 98.6836 | 0.64975 | 0.18617 | 27.4336 | 6.9747 | 21.25 | 5.4025 | -inf | 170 | 665.945 | 77.8989 | 0.93822 | 0.032683 | 6 | 9 | 120 | B30f | 372 | 5 | 0.72656 |  | 10_Nelson | ct thorax 31 |  |  | 20051122 | 500 |  | Studie_028_02_B30f_AXIAL | 512x512 |  | ct thorax 31, | D:\Abstract ECR\Data\LDCT - NELSON\Studie_028\Studie_028_02_B30f_AXIAL | Studie_028_02_B30f_AXIAL | SIEMENS | Sensation 16 |  |  | VA70C | 0 |  |  | M | 053Y | CHEST | Studie_028
5 | GNL X SLICE | 40 | 20 | 0 | 60 | 0 |  |  |  |  | 25.791 | 2.1175 | 1.0017 | 0.0026175 | 0.064257 | 0.072637 | 708.1307 | 68.8944 | 372 | 0 | 500 | 0 | [6 empty] | 92.7658 | 19.6347 | 160.675 | 34.0084 | 0 | 170 | 150.4584 | 13.5496 | 0.2162 | 0.040283 | 91.6688 | 19.11 | 158.775 | 33.0995 | -300 | 0 | 200.9152 | 27.7703 | 0.28899 | 0.062108 | 58.4928 | 13.4733 | 101.3125 | 23.3364 | -inf | -600 | 218.2313 | 144.2144 | 0.29268 | 0.18676 | 116.8347 | 16.2169 | 202.3636 | 28.0884 | 300 | inf | 49.1395 | 21.5406 | 0.072334 | 0.03685 | 92.5781 | 18.419 | 160.35 | 31.9026 | -300 | 300 | 410.6715 | 57.3586 | 0.5915 | 0.13196 | 82.027 | 27.4628 | 142.075 | 47.567 | -inf | 170 | 599.6933 | 99.0691 | 0.84136 | 0.068079 | 6 | 9 | 120 | B60f | 372 | 1 | 0.72656 |  | 10_Nelson | ct thorax 31 |  |  | 20051122 | 500 |  | Studie_028_03_B60f_AXIAL | 512x512 |  | ct thorax 31, | D:\Abstract ECR\Data\LDCT - NELSON\Studie_028\Studie_028_03_B60f_AXIAL | Studie_028_03_B60f_AXIAL | SIEMENS | Sensation 16 |  |  | VA70C | 0 |  |  | M | 053Y | CHEST | Studie_028