## Sheet1
Index | Slice Number | mAs | mA | CTDI (mGy) | SSDE (mGy) | WED (cm) | Truncation Correction | Truncation Fraction | File | Position in Stack | Body Area (cm²) | Reconstruction Diameter (mm) | Collection Diameter (mm) | Offset Horizontal (mm) | Offset Vertical (mm) | Offset Radial (mm) | GNL Soft Tissue - ST 3mm (HU) | GNL Soft Tissue (HU) | Soft Tissue - Low (HU) | Soft Tissue - High (HU) | Soft Tissue Area (cm²) | Soft Tissue in body (%) | GNL Lung Tissue - ST 3mm (HU) | GNL Lung Tissue (HU) | Lung Tissue - Low (HU) | Lung Tissue - High (HU) | Lung Tissue Area (cm²) | Lung Tissue in body (%) | Mask Kernel (mm) | Mask Kernel (px) | kVp | Kernel | FOV (mm) | Slice Thickness (mm) | Pixel Size (mm) | Pitch | Protocol | Procedure | Total Collimation (mm) | Single Collimation (mm) | Study Date | Exposure Time (ms) | Revolution Time (s) | Folder | Matrix Size | Study Comments | Study Description | Path | PACSID | Manufacturer | Model | Station | Channels | Software Version | Filter Type | Exposure Modulation Type | Acquisition Type | Patient Sex | Patient Age (y) | Body Part Examined | Patient ID
0 | 2 | 40 | 150 |  |  | 23.9056 | 1.0165 | 0.2423 | 1-002.dcm |  | 419.1765 | 300 |  |  |  |  | 70.2187 | 86 | 0 | 170 | 141.1949 | 0.33684 |  |  | -inf | -600 | 0.92354 | 0.0022032 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-002.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
1 | 5 | 40 | 150 |  |  | 24.2174 | 1.0187 | 0.25275 | 1-005.dcm |  | 426.4858 | 300 |  |  |  |  | 67.7692 | 83 | 0 | 170 | 147.3747 | 0.34556 |  |  | -inf | -600 | 1.1879 | 0.0027853 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-005.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
2 | 9 | 40 | 150 |  |  | 24.6285 | 1.0175 | 0.24709 | 1-009.dcm |  | 447.0783 | 300 |  |  |  |  | 66.9527 | 82 | 0 | 170 | 161.0493 | 0.36023 |  |  | -inf | -600 | 1.7612 | 0.0039395 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-009.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
3 | 12 | 40 | 150 |  |  | 25.1074 | 1.0111 | 0.21222 | 1-012.dcm |  | 464.4333 | 300 |  |  |  |  | 82.4662 | 101 | 0 | 170 | 154.8935 | 0.33351 |  |  | -inf | -600 | 2.5097 | 0.0054038 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-012.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
4 | 15 | 40 | 150 |  |  | 25.1959 | 1.0203 | 0.25934 | 1-015.dcm |  | 480.3978 | 300 |  |  |  |  | 60.4207 | 74 | 0 | 170 | 171.3249 | 0.35663 |  |  | -inf | -600 | 21.4817 | 0.044716 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-015.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
5 | 18 | 40 | 150 |  |  | 25.1088 | 1.0224 | 0.26792 | 1-018.dcm |  | 494.8036 | 300 |  |  |  |  | 57.9713 | 71 | 0 | 170 | 167.8814 | 0.33929 | 62.8702 | 77 | -inf | -600 | 47.509 | 0.096016 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-018.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
6 | 22 | 40 | 150 |  |  | 24.6509 | 1.0223 | 0.26772 | 1-022.dcm |  | 513.4769 | 300 |  |  |  |  | 52.2558 | 64 | 0 | 170 | 164.3726 | 0.32012 | 46.5403 | 57 | -inf | -600 | 83.8428 | 0.16328 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-022.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
7 | 25 | 40 | 150 |  |  | 24.4831 | 1.0238 | 0.27355 | 1-025.dcm |  | 526.4717 | 300 |  |  |  |  | 53.8888 | 66 | 0 | 170 | 152.8782 | 0.29038 | 56.3383 | 69 | -inf | -600 | 106.2721 | 0.20186 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-025.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
8 | 28 | 40 | 150 |  |  | 24.4303 | 1.0253 | 0.27917 | 1-028.dcm |  | 539.1094 | 300 |  |  |  |  | 43.2743 | 53 | 0 | 170 | 154.4815 | 0.28655 | 47.3568 | 58 | -inf | -600 | 128.334 | 0.23805 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-028.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
9 | 31 | 40 | 150 |  |  | 24.1221 | 1.0253 | 0.27901 | 1-031.dcm |  | 550.7103 | 300 |  |  |  |  | 45.7238 | 56 | 0 | 170 | 151.3058 | 0.27475 | 50.6228 | 62 | -inf | -600 | 148.1575 | 0.26903 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-031.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
10 | 35 | 40 | 150 |  |  | 23.8782 | 1.0285 | 0.29034 | 1-035.dcm |  | 566.0843 | 300 |  |  |  |  | 40.0083 | 49 | 0 | 170 | 146.1491 | 0.25818 | 41.6413 | 51 | -inf | -600 | 177.2953 | 0.3132 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-035.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
11 | 38 | 40 | 150 |  |  | 23.6513 | 1.0266 | 0.28377 | 1-038.dcm |  | 577.0947 | 300 |  |  |  |  | 57.1548 | 70 | 0 | 170 | 130.3974 | 0.22595 | 53.0723 | 65 | -inf | -600 | 197.4174 | 0.34209 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-038.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
12 | 41 | 40 | 150 |  |  | 23.4702 | 1.0291 | 0.29223 | 1-041.dcm |  | 587.1952 | 300 |  |  |  |  | 44.0908 | 54 | 0 | 170 | 129.6936 | 0.22087 | 40.0083 | 49 | -inf | -600 | 215.0127 | 0.36617 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-041.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
13 | 44 | 40 | 150 |  |  | 23.2948 | 1.029 | 0.29192 | 1-044.dcm |  | 595.6821 | 300 |  |  |  |  | 46.5403 | 57 | 0 | 170 | 130.6412 | 0.21931 | 48.1733 | 59 | -inf | -600 | 227.7843 | 0.38239 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-044.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
14 | 47 | 40 | 150 |  |  | 23.2093 | 1.0296 | 0.29392 | 1-047.dcm |  | 603.4618 | 300 |  |  |  |  | 39.1918 | 48 | 0 | 170 | 135.2829 | 0.22418 | 41.6413 | 51 | -inf | -600 | 239.8727 | 0.39749 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-047.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
15 | 51 | 40 | 150 |  |  | 23.2284 | 1.0316 | 0.30013 | 1-051.dcm |  | 612.2234 | 300 |  |  |  |  | 43.2743 | 53 | 0 | 170 | 129.4224 | 0.2114 | 47.3568 | 58 | -inf | -600 | 253.9387 | 0.41478 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-051.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
16 | 54 | 40 | 150 |  |  | 23.1788 | 1.0316 | 0.3002 | 1-054.dcm |  | 618.3552 | 300 |  |  |  |  | 39.1918 | 48 | 0 | 170 | 126.7342 | 0.20495 | 43.2743 | 53 | -inf | -600 | 265.7215 | 0.42972 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-054.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
17 | 57 | 40 | 150 |  |  | 23.0232 | 1.0314 | 0.29947 | 1-057.dcm |  | 624.4766 | 300 |  |  |  |  | 49.8063 | 61 | 0 | 170 | 122.81 | 0.19666 | 48.1733 | 59 | -inf | -600 | 272.4438 | 0.43628 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-057.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
18 | 60 | 40 | 150 |  |  | 23.1542 | 1.0346 | 0.30933 | 1-060.dcm |  | 631.1131 | 300 |  |  |  |  | 37.5588 | 46 | 0 | 170 | 131.4617 | 0.2083 | 45.7238 | 56 | -inf | -600 | 275.7946 | 0.437 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-060.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
19 | 64 | 40 | 150 |  |  | 23.3845 | 1.0338 | 0.30683 | 1-064.dcm |  | 638.7348 | 300 |  |  |  |  | 40.8248 | 50 | 0 | 170 | 125.5188 | 0.19651 | 43.2743 | 53 | -inf | -600 | 279.6158 | 0.43777 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-064.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
20 | 67 | 40 | 150 |  |  | 23.3795 | 1.0352 | 0.3111 | 1-067.dcm |  | 643.6821 | 300 |  |  |  |  | 40.8248 | 50 | 0 | 170 | 122.8443 | 0.19085 | 44.9073 | 55 | -inf | -600 | 288.2572 | 0.44783 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-067.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
21 | 70 | 40 | 150 |  |  | 23.2653 | 1.0358 | 0.31275 | 1-070.dcm |  | 648.9075 | 300 |  |  |  |  | 39.1918 | 48 | 0 | 170 | 124.4751 | 0.19182 | 41.6413 | 51 | -inf | -600 | 292.0441 | 0.45006 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-070.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
22 | 73 | 40 | 150 |  |  | 23.1665 | 1.0333 | 0.30552 | 1-073.dcm |  | 654.0642 | 300 |  |  |  |  | 36.7423 | 45 | 0 | 170 | 129.0619 | 0.19732 | 43.2743 | 53 | -inf | -600 | 294.0422 | 0.44956 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-073.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
23 | 77 | 40 | 150 |  |  | 23.0195 | 1.0298 | 0.29439 | 1-077.dcm |  | 659.1797 | 300 |  |  |  |  | 35.9258 | 44 | 0 | 170 | 120.5921 | 0.18294 | 40.0083 | 49 | -inf | -600 | 298.4196 | 0.45271 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-077.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
24 | 80 | 40 | 150 |  |  | 23.2233 | 1.0219 | 0.26623 | 1-080.dcm |  | 660.8173 | 300 |  |  |  |  | 39.1918 | 48 | 0 | 170 | 115.9538 | 0.17547 | 41.6413 | 51 | -inf | -600 | 296.5931 | 0.44883 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-080.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
25 | 83 | 40 | 150 |  |  | 23.267 | 1.0187 | 0.25251 | 1-083.dcm |  | 661.219 | 300 |  |  |  |  | 38.3753 | 47 | 0 | 170 | 121.0247 | 0.18303 | 45.7238 | 56 | -inf | -600 | 294.5675 | 0.44549 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-083.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
26 | 86 | 40 | 150 |  |  | 23.0181 | 1.0148 | 0.23367 | 1-086.dcm |  | 660.3607 | 300 |  |  |  |  | 40.8248 | 50 | 0 | 170 | 120.6024 | 0.18263 | 44.0908 | 54 | -inf | -600 | 291.0175 | 0.44069 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-086.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
27 | 90 | 40 | 150 |  |  | 22.6994 | 1.007 | 0.18194 | 1-090.dcm |  | 654.2564 | 300 |  |  |  |  | 35.9258 | 44 | 0 | 170 | 127.9736 | 0.1956 | 45.7238 | 56 | -inf | -600 | 289.0125 | 0.44174 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-090.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
28 | 93 | 40 | 150 |  |  | 22.6528 | 1.0042 | 0.15338 | 1-093.dcm |  | 646.7274 | 300 |  |  |  |  | 41.6413 | 51 | 0 | 170 | 131.9286 | 0.20399 | 44.9073 | 55 | -inf | -600 | 285.2222 | 0.44102 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-093.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
29 | 96 | 40 | 150 |  |  | 22.522 | 1.0031 | 0.13968 | 1-096.dcm |  | 637.3993 | 300 |  |  |  |  | 37.5588 | 46 | 0 | 170 | 136.282 | 0.21381 | 47.3568 | 58 | -inf | -600 | 282.0774 | 0.44254 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-096.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
30 | 99 | 40 | 150 |  |  | 22.2871 | 1.0026 | 0.13043 | 1-099.dcm |  | 629.5097 | 300 |  |  |  |  | 42.4578 | 52 | 0 | 170 | 137.1918 | 0.21793 | 50.6228 | 62 | -inf | -600 | 281.6551 | 0.44742 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-099.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
31 | 103 | 40 | 150 |  |  | 22.1869 | 1.0022 | 0.12365 | 1-103.dcm |  | 624.5522 | 300 |  |  |  |  | 40.8248 | 50 | 0 | 170 | 132.1278 | 0.21156 | 52.2558 | 64 | -inf | -600 | 279.1042 | 0.44689 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-103.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
32 | 106 | 40 | 150 |  |  | 22.1446 | 1.0022 | 0.12446 | 1-106.dcm |  | 623.4364 | 300 |  |  |  |  | 40.0083 | 49 | 0 | 170 | 135.8837 | 0.21796 | 44.9073 | 55 | -inf | -600 | 283.5091 | 0.45475 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-106.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
33 | 109 | 40 | 150 |  |  | 22.1056 | 1.002 | 0.12106 | 1-109.dcm |  | 624.0578 | 300 |  |  |  |  | 35.9258 | 44 | 0 | 170 | 139.8937 | 0.22417 | 48.1733 | 59 | -inf | -600 | 282.3177 | 0.45239 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-109.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
34 | 112 | 40 | 150 |  |  | 22.1505 | 1.0019 | 0.11798 | 1-112.dcm |  | 625.7229 | 300 |  |  |  |  | 40.0083 | 49 | 0 | 170 | 138.0569 | 0.22064 | 47.3568 | 58 | -inf | -600 | 279.1969 | 0.4462 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-112.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
35 | 116 | 40 | 150 |  |  | 22.1362 | 1.0016 | 0.11056 | 1-116.dcm |  | 627.6798 | 300 |  |  |  |  | 35.9258 | 44 | 0 | 170 | 140.189 | 0.22334 | 45.7238 | 56 | -inf | -600 | 280.4295 | 0.44677 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-116.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
36 | 119 | 40 | 150 |  |  | 22.1253 | 1.0013 | 0.10313 | 1-119.dcm |  | 628.0403 | 300 |  |  |  |  | 38.3753 | 47 | 0 | 170 | 133.9851 | 0.21334 | 41.6413 | 51 | -inf | -600 | 280.3093 | 0.44632 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-119.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
37 | 122 | 40 | 150 |  |  | 22.5194 | 1.001 | 0.096842 | 1-122.dcm |  | 628.3459 | 300 |  |  |  |  | 37.5588 | 46 | 0 | 170 | 148.6485 | 0.23657 | 51.4393 | 63 | -inf | -600 | 264.6915 | 0.42125 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-122.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
38 | 125 | 40 | 150 |  |  | 23.2421 | 1.001 | 0.096479 | 1-125.dcm |  | 628.4042 | 300 |  |  |  |  | 40.0083 | 49 | 0 | 170 | 175.1598 | 0.27874 | 48.1733 | 59 | -inf | -600 | 239.3818 | 0.38094 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-125.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
39 | 128 | 40 | 150 |  |  | 24.3075 | 1.001 | 0.094834 | 1-128.dcm |  | 627.5322 | 300 |  |  |  |  | 42.4578 | 52 | 0 | 170 | 208.2218 | 0.33181 | 51.4393 | 63 | -inf | -600 | 198.2002 | 0.31584 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-128.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
40 | 132 | 40 | 150 |  |  | 25.54 | 1.0008 | 0.087757 | 1-132.dcm |  | 627.0103 | 300 |  |  |  |  | 55.5218 | 68 | 0 | 170 | 234.2766 | 0.37364 | 57.1548 | 70 | -inf | -600 | 143.3407 | 0.22861 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-132.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
41 | 135 | 40 | 150 |  |  | 26.3827 | 1.0007 | 0.085032 | 1-135.dcm |  | 626.6705 | 300 |  |  |  |  | 57.9713 | 71 | 0 | 170 | 259.2808 | 0.41374 | 66.9527 | 82 | -inf | -600 | 105.6473 | 0.16859 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-135.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
42 | 138 | 40 | 150 |  |  | 26.9955 | 1.0006 | 0.080225 | 1-138.dcm |  | 625.613 | 300 |  |  |  |  | 68.5857 | 84 | 0 | 170 | 264.5233 | 0.42282 | 70.2187 | 86 | -inf | -600 | 75.2323 | 0.12025 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-138.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
43 | 141 | 40 | 150 |  |  | 27.5074 | 1.0006 | 0.080612 | 1-141.dcm |  | 624.3942 | 300 |  |  |  |  | 66.1362 | 81 | 0 | 170 | 271.0739 | 0.43414 | 68.5857 | 84 | -inf | -600 | 48.6935 | 0.077985 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-141.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
44 | 145 | 40 | 150 |  |  | 27.829 | 1.0005 | 0.073222 | 1-145.dcm |  | 620.3739 | 300 |  |  |  |  | 68.5857 | 84 | 0 | 170 | 274.1707 | 0.44194 |  |  | -inf | -600 | 23.8438 | 0.038435 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-145.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
45 | 148 | 40 | 150 |  |  | 27.8558 | 1.0004 | 0.072792 | 1-148.dcm |  | 611.7565 | 300 |  |  |  |  | 57.1548 | 70 | 0 | 170 | 287.2822 | 0.4696 |  |  | -inf | -600 | 11.903 | 0.019457 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-148.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
46 | 151 | 40 | 150 |  |  | 27.7351 | 1.0003 | 0.064103 | 1-151.dcm |  | 600.8801 | 300 |  |  |  |  | 67.7692 | 83 | 0 | 170 | 262.7415 | 0.43726 |  |  | -inf | -600 | 5.2048 | 0.0086619 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-151.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
47 | 154 | 40 | 150 |  |  | 27.6007 | 1.0002 | 0.053507 | 1-154.dcm |  | 593.4883 | 300 |  |  |  |  | 68.5857 | 84 | 0 | 170 | 259.0336 | 0.43646 |  |  | -inf | -600 | 1.1879 | 0.0020016 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-154.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
48 | 158 | 40 | 150 |  |  | 27.3144 | 1 | -0.00073099 | 1-158.dcm |  | 583.223 | 300 |  |  |  |  | 67.7692 | 83 | 0 | 170 | 252.0882 | 0.43223 |  |  | -inf | -600 | 0 | 0 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-158.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012
49 | 161 | 40 | 150 |  |  | 27.0113 | 1 | -0.00072993 | 1-161.dcm |  | 570.3861 | 300 |  |  |  |  | 56.3383 | 69 | 0 | 170 | 257.135 | 0.45081 |  |  | -inf | -600 | 0 | 0 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3\1-161.dcm | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012