## Sheet1
Index | Calculation Method | NB Slices | AVG mAs | STD mAs | AVG mA | STD mA | AVG CTDI (mGy) | STD CTDI (mGy) | AVG SSDE (mGy) | STD SSDE (mGy) | AVG WED (cm) | STD WED (cm) | AVG Truncation Correction | STD Truncation Correction | AVG Truncation Fraction | STD Truncation Fraction | AVG Body Area (cm²) | STD Body Area (cm²) | AVG Reconstruction Diameter (mm) | STD Reconstruction Diameter (mm) | AVG Collection Diameter (mm) | STD Collection Diameter (mm) | AVG Offset Horizontal (mm) | STD Offset Horizontal (mm) | AVG Offset Vertical (mm) | STD Offset Vertical (mm) | AVG Offset Radial (mm) | STD Offset Radial (mm) | AVG GNL Soft Tissue - ST 3mm (HU) | STD GNL Soft Tissue - ST 3mm (HU) | AVG GNL Soft Tissue (HU) | STD GNL Soft Tissue (HU) | Soft Tissue - Low (HU) | Soft Tissue - High (HU) | AVG Soft Tissue Area (cm²) | STD Soft Tissue Area (cm²) | AVG Soft Tissue in body (%) | STD Soft Tissue in body (%) | AVG GNL Lung Tissue - ST 3mm (HU) | STD GNL Lung Tissue - ST 3mm (HU) | AVG GNL Lung Tissue (HU) | STD GNL Lung Tissue (HU) | Lung Tissue - Low (HU) | Lung Tissue - High (HU) | AVG Lung Tissue Area (cm²) | STD Lung Tissue Area (cm²) | AVG Lung Tissue in body (%) | STD Lung Tissue in body (%) | Mask Kernel (mm) | Mask Kernel (px) | kVp | Kernel | FOV (mm) | Slice Thickness (mm) | Pixel Size (mm) | Pitch | Protocol | Procedure | Total Collimation (mm) | Single Collimation (mm) | Study Date | Exposure Time (ms) | Revolution Time (s) | Folder | Matrix Size | Study Comments | Study Description | Path | PACSID | Manufacturer | Model | Station | Channels | Software Version | Filter Type | Exposure Modulation Type | Acquisition Type | Patient Sex | Patient Age (y) | Body Part Examined | Patient ID
0 | GNL X SLICE | 50 | 40 | 0 | 150 | 0 |  |  |  |  | 24.1303 | 1.7431 | 1.0147 | 0.013141 | 0.19431 | 0.097578 | 595.8851 | 62.2121 | 300 | 0 | [8 empty] | 49.0551 | 12.3481 | 60.08 | 15.1233 | 0 | 170 | 164.7314 | 51.7462 | 0.28033 | 0.091209 | 48.7176 | 7.4726 | 59.6667 | 9.1521 | -inf | -600 | 178.8396 | 114.6557 | 0.28735 | 0.17815 | 6 | 11 | 120 | B50f | 300 | 2 | 0.58594 | [5 empty] | 19990102 | 500 |  | 100012_01-02-1999_3 | 512x512 |  | NLST-LSS | D:\Abstract ECR\Data\LDCT - NLST\100012\100012_01-02-1999_3 | 608762 | SIEMENS | Volume Zoom | S05 |  | VA40C | 0 |  |  |  |  | CHEST | 100012