## Per Slice
| Slice Number | mAs | mA | CTDI (mGy) | SSDE (mGy) | WED (cm) | Truncation Correction | Truncation Fraction | File | Position in Stack | Body Area (cm²) | GNL Soft Tissue - per 3mm (HU) | GNL Soft Tissue (HU) | Soft Tissue - Low (HU) | Soft Tissue - High (HU) | Soft Tissue Area (cm²) | Soft Tissue in body (%) | GNL Lung Tissue - per 3mm (HU) | GNL Lung Tissue (HU) | Lung Tissue - Low (HU) | Lung Tissue - High (HU) | Lung Tissue Area (cm²) | Lung Tissue in body (%) | Mask Kernel (mm) | Mask Kernel (px) | kVp | Kernel | FOV (mm) | Slice Thickness (mm) | Pixel Size (mm) | Pitch | Protocol | Procedure | Total Collimation (mm) | Single Collimation (mm) | Study Date | Exposure Time (ms) | Revolution Time (s) | Folder | Matrix Size | Study Comments | Study Description | Path | Manufacturer | Model | Station | Channels | Software Version | Filter Type | Exposure Modulation Type | Acquisition Type | Patient Sex | Patient Age (y) | Body Part Examined | PACSID | Patient ID
0 | 342 | 63 | 180 | 10.4 | 15.9449 | 24.0249 | 1.0001 | 0.046282 | MDCT.dcm | 342 | 691.6811 |  |  | 0 | 170 | 199.301 | 0.28814 |  |  | -inf | -600 | 285.0862 | 0.41216 | 1 | 1 | 120 | FC52 | 373.437 | 1 | 0.729 | 0.813 | G05 Thorax Longtransplant |  | 40 | 0.5 | 20201217 | 350 | 0.35 | Kernel Size GNL | 512x512 | Thorax | RAD ct thorax 33 | D:\Quick Images\Kernel Size GNL\MDCT.dcm | TOSHIBA | Aquilion ONE | UZLGRADTOCT14 | 80 | V7.03GR919 | LARGE | 3D | SPIRAL | M | 027Y |  |  | Case_024
1 | 660 | 49 | 83 | 3.9 | 6.2258 | 22.925 | 1 | -0.00043159 | PCCT.dcm |  | 557.415 | 243.7365 | 89 | 0 | 170 | 126.5934 | 0.22711 | 227.3049 | 83 | -inf | -600 | 168.7856 | 0.3028 | 1 | 3 |  | Bl60u | 382.444 | 0.4 | 0.37348 | 0.85 | G05 Transplant Protocol |  | 24 | 0.2 | 20211222 | 588 | 0.5 | Kernel Size GNL | 1024x1024 | Thorax | RAD ct thorax 33 | D:\Quick Images\Kernel Size GNL\PCCT.dcm | Siemens Healthineers | NAEOTOM Alpha | UZLGRADSICT14 | 120 | syngo CT VA40A | W1 | ELLIP_ZEC |  | F | 066Y | CHEST |  | Case_086