## Sheet1
Index | Slice Number | mAs | mA | CTDI (mGy) | SSDE (mGy) | WED (cm) | Truncation Correction | Truncation Fraction | File | Position in Stack | Body Area (cm²) | GNL Soft Tissue - ST 3mm (HU) | GNL Soft Tissue (HU) | Soft Tissue - Low (HU) | Soft Tissue - High (HU) | Soft Tissue Area (cm²) | Soft Tissue in body (%) | GNL Fat Tissue - ST 3mm (HU) | GNL Fat Tissue (HU) | Fat Tissue - Low (HU) | Fat Tissue - High (HU) | Fat Tissue Area (cm²) | Fat Tissue in body (%) | GNL Lung Tissue - ST 3mm (HU) | GNL Lung Tissue (HU) | Lung Tissue - Low (HU) | Lung Tissue - High (HU) | Lung Tissue Area (cm²) | Lung Tissue in body (%) | GNL Bone Tissue - ST 3mm (HU) | GNL Bone Tissue (HU) | Bone Tissue - Low (HU) | Bone Tissue - High (HU) | Bone Tissue Area (cm²) | Bone Tissue in body (%) | GNL Qaelum Soft Tissue - ST 3mm (HU) | GNL Qaelum Soft Tissue (HU) | Qaelum Soft Tissue - Low (HU) | Qaelum Soft Tissue - High (HU) | Qaelum Soft Tissue Area (cm²) | Qaelum Soft Tissue in body (%) | GNL NEw soft - ST 3mm (HU) | GNL NEw soft (HU) | NEw soft - Low (HU) | NEw soft - High (HU) | NEw soft Area (cm²) | NEw soft in body (%) | Mask Kernel (mm) | Mask Kernel (px) | kVp | Kernel | FOV (mm) | Slice Thickness (mm) | Pixel Size (mm) | Pitch | Protocol | Procedure | Total Collimation (mm) | Single Collimation (mm) | Study Date | Exposure Time (ms) | Revolution Time (s) | Folder | Matrix Size | Study Comments | Study Description | Path | Manufacturer | Model | Station | Channels | Software Version | Filter Type | Exposure Modulation Type | Acquisition Type | Patient Sex | Patient Age (y) | Body Part Examined | Patient ID
0 | 14 | 1852 | 160 |  |  | 28.629 | 1.0211 | 0.26297 | 1-014.dcm |  | 650.3286 | 117.2126 | 107 | 0 | 170 | 212.6398 | 0.32697 | 117.2126 | 107 | -300 | 0 | 242.5897 | 0.37303 | 108.4491 | 99 | -inf | -600 | 74.3011 | 0.11425 | 157.7441 | 144 | 300 | inf | 54.4318 | 0.083699 | 117.2126 | 107 | -300 | 300 | 512.0244 | 0.78733 | 117.2126 | 107 | -inf | 170 | 539.1019 | 0.82897 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20000102 | 570 |  | Test 4 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 4\1-014.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
1 | 67 | 1852 | 160 |  |  | 26.6309 | 1.0351 | 0.3106 | 1-067.dcm |  | 827.2194 | 79.9675 | 73 | 0 | 170 | 165.7227 | 0.20034 | 85.4447 | 78 | -300 | 0 | 244.0975 | 0.29508 | 60.2495 | 55 | -inf | -600 | 351.5966 | 0.42503 | 369.165 | 337 | 300 | inf | 25.0999 | 0.030343 | 79.9675 | 73 | -300 | 300 | 435.4393 | 0.52639 | 75.5857 | 69 | -inf | 170 | 776.5005 | 0.93869 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20000102 | 570 |  | Test 4 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 4\1-067.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
2 | 120 | 1852 | 160 |  |  | 32.9231 | 1.0011 | 0.099786 | 1-120.dcm |  | 848.6559 | 148.9805 | 136 | 0 | 170 | 277.2955 | 0.32675 | 148.9805 | 136 | -300 | 0 | 374.7189 | 0.44154 | 471.0414 | 430 | -inf | -600 | 13.907 | 0.016387 | 177.4621 | 162 | 300 | inf | 51.7225 | 0.060946 | 148.9805 | 136 | -300 | 300 | 753.2842 | 0.88762 | 148.9805 | 136 | -inf | 170 | 695.6636 | 0.81972 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20000102 | 570 |  | Test 4 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 4\1-120.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
3 | 40 | 1852 | 160 |  |  | 27.0067 | 1.0329 | 0.30426 | 1-040.dcm |  | 771.087 | 78.872 | 72 | 0 | 170 | 184.9839 | 0.2399 | 54.7723 | 50 | -300 | 0 | 222.1271 | 0.28807 | 62.4404 | 57 | -inf | -600 | 281.3247 | 0.36484 | 281.5294 | 257 | 300 | inf | 34.7305 | 0.045041 | 75.5857 | 69 | -300 | 300 | 444.5656 | 0.57654 | 74.4903 | 68 | -inf | 170 | 698.9019 | 0.90639 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20000102 | 570 |  | Test 4 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 4\1-040.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
4 | 94 | 1852 | 160 |  |  | 26.348 | 1.0129 | 0.22312 | 1-094.dcm |  | 835.7871 | 82.1584 | 75 | 0 | 170 | 187.8019 | 0.2247 | 88.7311 | 81 | -300 | 0 | 229.1918 | 0.27422 | 55.8677 | 51 | -inf | -600 | 353.2676 | 0.42268 | 130.358 | 119 | 300 | inf | 22.2819 | 0.02666 | 87.6356 | 80 | -300 | 300 | 447.8434 | 0.53583 | 60.2495 | 55 | -inf | 170 | 782.6556 | 0.93643 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20000102 | 570 |  | Test 4 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 4\1-094.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
5 | 15 | 39 | 93 |  |  | 26.0337 | 1.0176 | 0.2474 | 1-015.dcm |  | 535.937 | 104.5706 | 108 | 0 | 170 | 195.8655 | 0.36546 | 107.4753 | 111 | -300 | 0 | 162.1173 | 0.30249 | 87.1421 | 90 | -inf | -600 | 65.8273 | 0.12283 | 150.0781 | 155 | 300 | inf | 44.8084 | 0.083608 | 104.5706 | 108 | -300 | 300 | 417.1179 | 0.7783 | 103.6023 | 107 | -inf | 170 | 431.9935 | 0.80605 | 6 | 9 | 120 | D | 315 | 3.2 | 0.61523 | 1.75 |  |  |  |  | 20010102 |  |  | Test 10 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 10\1-015.dcm | Philips | Mx8000 | P03 |  | 2.21 | D |  |  |  |  | CHEST | 100019
6 | 135 | 39 | 93 |  |  | 29.1635 | 1.0002 | 0.054475 | 1-135.dcm |  | 674.4199 | 97.7928 | 101 | 0 | 170 | 274.7931 | 0.40745 | 106.507 | 110 | -300 | 0 | 254.7281 | 0.3777 | 30.9839 | 32 | -inf | -600 | 29.1682 | 0.043249 | 184.935 | 191 | 300 | inf | 26.6965 | 0.039584 | 102.6341 | 106 | -300 | 300 | 605.1482 | 0.89729 | 106.507 | 110 | -inf | 170 | 572.0964 | 0.84828 | 6 | 9 | 120 | D | 315 | 3.2 | 0.61523 | 1.75 |  |  |  |  | 20010102 |  |  | Test 10 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 10\1-135.dcm | Philips | Mx8000 | P03 |  | 2.21 | D |  |  |  |  | CHEST | 100019
7 | 105 | 39 | 93 |  |  | 25.5957 | 1.0037 | 0.14719 | 1-105.dcm |  | 707.1651 | 71.6502 | 74 | 0 | 170 | 235.3104 | 0.33275 | 72.6184 | 75 | -300 | 0 | 153.0367 | 0.21641 | 53.2535 | 55 | -inf | -600 | 241.2341 | 0.34113 | 228.506 | 236 | 300 | inf | 19.1906 | 0.027137 | 72.6184 | 75 | -300 | 300 | 428.2121 | 0.60553 | 70.6819 | 73 | -inf | 170 | 648.1095 | 0.91649 | 6 | 9 | 120 | D | 315 | 3.2 | 0.61523 | 1.75 |  |  |  |  | 20010102 |  |  | Test 10 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 10\1-105.dcm | Philips | Mx8000 | P03 |  | 2.21 | D |  |  |  |  | CHEST | 100019
8 | 75 | 39 | 93 |  |  | 23.5055 | 1.0093 | 0.20041 | 1-075.dcm |  | 693.2282 | 60.9995 | 63 | 0 | 170 | 188.1628 | 0.27143 | 64.8725 | 67 | -300 | 0 | 119.5837 | 0.1725 | 48.4123 | 50 | -inf | -600 | 321.5849 | 0.46389 | 172.3478 | 178 | 300 | inf | 20.3678 | 0.029381 | 62.936 | 65 | -300 | 300 | 336.5892 | 0.48554 | 62.936 | 65 | -inf | 170 | 644.0177 | 0.92901 | 6 | 9 | 120 | D | 315 | 3.2 | 0.61523 | 1.75 |  |  |  |  | 20010102 |  |  | Test 10 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 10\1-075.dcm | Philips | Mx8000 | P03 |  | 2.21 | D |  |  |  |  | CHEST | 100019
9 | 45 | 39 | 93 |  |  | 23.8673 | 1.0167 | 0.24322 | 1-045.dcm |  | 649.9604 | 63.9042 | 66 | 0 | 170 | 194.4044 | 0.2991 | 68.7455 | 71 | -300 | 0 | 119.9963 | 0.18462 | 54.2218 | 56 | -inf | -600 | 265.6028 | 0.40864 | 207.2046 | 214 | 300 | inf | 28.0895 | 0.043217 | 65.8407 | 68 | -300 | 300 | 346.0218 | 0.53237 | 54.2218 | 56 | -inf | 170 | 590.2499 | 0.90813 | 6 | 9 | 120 | D | 315 | 3.2 | 0.61523 | 1.75 |  |  |  |  | 20010102 |  |  | Test 10 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 10\1-045.dcm | Philips | Mx8000 | P03 |  | 2.21 | D |  |  |  |  | CHEST | 100019
10 | 65 | 1799 | 160 |  |  | 26.7154 | 1.0789 | 0.40424 | 1-065.dcm |  | 778.0677 | 66.8222 | 61 | 0 | 170 | 146.6296 | 0.18845 | 40.5315 | 37 | -300 | 0 | 220.4659 | 0.28335 | 59.154 | 54 | -inf | -600 | 341.1898 | 0.43851 | 314.3927 | 287 | 300 | inf | 27.5175 | 0.035366 | 66.8222 | 61 | -300 | 300 | 394.6377 | 0.5072 | 66.8222 | 61 | -inf | 170 | 723.0081 | 0.92924 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20010102 | 570 |  | Test 5 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 5\1-065.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
11 | 117 | 1799 | 160 |  |  | 32.8305 | 1.0221 | 0.26697 | 1-117.dcm |  | 806.5591 | 155.5532 | 142 | 0 | 170 | 257.3174 | 0.31903 | 150.076 | 137 | -300 | 0 | 328.1182 | 0.40681 | 55.8677 | 51 | -inf | -600 | 21.4217 | 0.026559 | 217.9936 | 199 | 300 | inf | 62.9747 | 0.078078 | 162.1259 | 148 | -300 | 300 | 691.7382 | 0.85764 | 155.5532 | 142 | -inf | 170 | 637.2817 | 0.79012 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20010102 | 570 |  | Test 5 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 5\1-117.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
12 | 13 | 1799 | 160 |  |  | 28.0154 | 1.0239 | 0.27374 | 1-013.dcm |  | 603.8317 | 142.4079 | 130 | 0 | 170 | 168.8522 | 0.27963 | 143.5033 | 131 | -300 | 0 | 226.8188 | 0.37563 | 132.5489 | 121 | -inf | -600 | 53.3293 | 0.088318 | 265.0977 | 242 | 300 | inf | 65.6691 | 0.10875 | 142.4079 | 130 | -300 | 300 | 462.8232 | 0.76648 | 142.4079 | 130 | -inf | 170 | 471.0103 | 0.78004 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20010102 | 570 |  | Test 5 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 5\1-013.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
13 | 39 | 1799 | 160 |  |  | 26.6679 | 1.0508 | 0.35069 | 1-039.dcm |  | 727.1164 | 67.9176 | 62 | 0 | 170 | 162.0643 | 0.22289 | 61.3449 | 56 | -300 | 0 | 212.6744 | 0.29249 | 81.0629 | 74 | -inf | -600 | 262.4886 | 0.361 | 265.0977 | 242 | 300 | inf | 34.429 | 0.04735 | 64.6313 | 59 | -300 | 300 | 415.5848 | 0.57155 | 65.7267 | 60 | -inf | 170 | 651.8414 | 0.89647 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20010102 | 570 |  | Test 5 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 5\1-039.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
14 | 91 | 1799 | 160 |  |  | 27.5473 | 1.1019 | 0.43864 | 1-091.dcm |  | 789.8093 | 83.2538 | 76 | 0 | 170 | 163.9182 | 0.20754 | 47.1041 | 43 | -300 | 0 | 206.3513 | 0.26127 | 66.8222 | 61 | -inf | -600 | 348.3979 | 0.44112 | 348.3515 | 318 | 300 | inf | 23.2311 | 0.029414 | 85.4447 | 78 | -300 | 300 | 402.3847 | 0.50947 | 69.013 | 63 | -inf | 170 | 734.463 | 0.92992 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20010102 | 570 |  | Test 5 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 5\1-091.dcm | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002