## Sheet1
Index | Calculation Method | NB Slices | AVG mAs | STD mAs | AVG mA | STD mA | AVG CTDI (mGy) | STD CTDI (mGy) | AVG SSDE (mGy) | STD SSDE (mGy) | AVG WED (cm) | STD WED (cm) | AVG Truncation Correction | STD Truncation Correction | AVG Truncation Fraction | STD Truncation Fraction | AVG Body Area (cm²) | STD Body Area (cm²) | AVG GNL Soft Tissue - ST 3mm (HU) | STD GNL Soft Tissue - ST 3mm (HU) | AVG GNL Soft Tissue (HU) | STD GNL Soft Tissue (HU) | Soft Tissue - Low (HU) | Soft Tissue - High (HU) | AVG Soft Tissue Area (cm²) | STD Soft Tissue Area (cm²) | AVG Soft Tissue in body (%) | STD Soft Tissue in body (%) | AVG GNL Fat Tissue - ST 3mm (HU) | STD GNL Fat Tissue - ST 3mm (HU) | AVG GNL Fat Tissue (HU) | STD GNL Fat Tissue (HU) | Fat Tissue - Low (HU) | Fat Tissue - High (HU) | AVG Fat Tissue Area (cm²) | STD Fat Tissue Area (cm²) | AVG Fat Tissue in body (%) | STD Fat Tissue in body (%) | AVG GNL Lung Tissue - ST 3mm (HU) | STD GNL Lung Tissue - ST 3mm (HU) | AVG GNL Lung Tissue (HU) | STD GNL Lung Tissue (HU) | Lung Tissue - Low (HU) | Lung Tissue - High (HU) | AVG Lung Tissue Area (cm²) | STD Lung Tissue Area (cm²) | AVG Lung Tissue in body (%) | STD Lung Tissue in body (%) | AVG GNL Bone Tissue - ST 3mm (HU) | STD GNL Bone Tissue - ST 3mm (HU) | AVG GNL Bone Tissue (HU) | STD GNL Bone Tissue (HU) | Bone Tissue - Low (HU) | Bone Tissue - High (HU) | AVG Bone Tissue Area (cm²) | STD Bone Tissue Area (cm²) | AVG Bone Tissue in body (%) | STD Bone Tissue in body (%) | AVG GNL Qaelum Soft Tissue - ST 3mm (HU) | STD GNL Qaelum Soft Tissue - ST 3mm (HU) | AVG GNL Qaelum Soft Tissue (HU) | STD GNL Qaelum Soft Tissue (HU) | Qaelum Soft Tissue - Low (HU) | Qaelum Soft Tissue - High (HU) | AVG Qaelum Soft Tissue Area (cm²) | STD Qaelum Soft Tissue Area (cm²) | AVG Qaelum Soft Tissue in body (%) | STD Qaelum Soft Tissue in body (%) | AVG GNL NEw soft - ST 3mm (HU) | STD GNL NEw soft - ST 3mm (HU) | AVG GNL NEw soft (HU) | STD GNL NEw soft (HU) | NEw soft - Low (HU) | NEw soft - High (HU) | AVG NEw soft Area (cm²) | STD NEw soft Area (cm²) | AVG NEw soft in body (%) | STD NEw soft in body (%) | Mask Kernel (mm) | Mask Kernel (px) | kVp | Kernel | FOV (mm) | Slice Thickness (mm) | Pixel Size (mm) | Pitch | Protocol | Procedure | Total Collimation (mm) | Single Collimation (mm) | Study Date | Exposure Time (ms) | Revolution Time (s) | Folder | Matrix Size | Study Comments | Study Description | Path | Manufacturer | Model | Station | Channels | Software Version | Filter Type | Exposure Modulation Type | Acquisition Type | Patient Sex | Patient Age (y) | Body Part Examined | Patient ID
0 | GNL MID AX | 1 | 1852 | 0 | 160 | 0 |  |  |  |  | 26.6309 | 0 | 1.0351 | 0 | 0.3106 | 0 | 827.2194 | 0 | 79.9675 | 0 | 73 | 0 | 0 | 170 | 165.7227 | 0 | 0.20034 | 0 | 85.4447 | 0 | 78 | 0 | -300 | 0 | 244.0975 | 0 | 0.29508 | 0 | 60.2495 | 0 | 55 | 0 | -inf | -600 | 351.5966 | 0 | 0.42503 | 0 | 369.165 | 0 | 337 | 0 | 300 | inf | 25.0999 | 0 | 0.030343 | 0 | 79.9675 | 0 | 73 | 0 | -300 | 300 | 435.4393 | 0 | 0.52639 | 0 | 75.5857 | 0 | 69 | 0 | -inf | 170 | 776.5005 | 0 | 0.93869 | 0 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20000102 | 570 |  | Test 4 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 4 | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
1 | GNL X SLICE | 5 | 1852 | 0 | 160 | 0 |  |  |  |  | 28.3075 | 2.4392 | 1.0206 | 0.012646 | 0.24014 | 0.076921 | 786.6156 | 73.1175 | 101.4382 | 27.7526 | 92.6 | 25.3346 | 0 | 170 | 205.6888 | 38.786 | 0.26373 | 0.053067 | 99.0282 | 31.8592 | 90.4 | 29.0833 | -300 | 0 | 262.545 | 56.6878 | 0.33439 | 0.063695 | 151.6096 | 160.8501 | 138.4 | 146.8354 | -inf | -600 | 214.8794 | 143.1153 | 0.26864 | 0.17024 | 223.2517 | 89.1113 | 203.8 | 81.3472 | 300 | inf | 37.6533 | 13.2806 | 0.049338 | 0.021019 | 101.8764 | 27.6695 | 93 | 25.2587 | -300 | 300 | 518.6314 | 120.4352 | 0.66274 | 0.14712 | 95.3037 | 32.8998 | 87 | 30.0333 | -inf | 170 | 698.5647 | 87.8433 | 0.88604 | 0.05173 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20000102 | 570 |  | Test 4 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 4 | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
2 | GNL MID AX | 1 | 39 | 0 | 93 | 0 |  |  |  |  | 23.5055 | 0 | 1.0093 | 0 | 0.20041 | 0 | 693.2282 | 0 | 60.9995 | 0 | 63 | 0 | 0 | 170 | 188.1628 | 0 | 0.27143 | 0 | 64.8725 | 0 | 67 | 0 | -300 | 0 | 119.5837 | 0 | 0.1725 | 0 | 48.4123 | 0 | 50 | 0 | -inf | -600 | 321.5849 | 0 | 0.46389 | 0 | 172.3478 | 0 | 178 | 0 | 300 | inf | 20.3678 | 0 | 0.029381 | 0 | 62.936 | 0 | 65 | 0 | -300 | 300 | 336.5892 | 0 | 0.48554 | 0 | 62.936 | 0 | 65 | 0 | -inf | 170 | 644.0177 | 0 | 0.92901 | 0 | 6 | 9 | 120 | D | 315 | 3.2 | 0.61523 | 1.75 |  |  |  |  | 20010102 |  |  | Test 10 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 10 | Philips | Mx8000 | P03 |  | 2.21 | D |  |  |  |  | CHEST | 100019
3 | GNL X SLICE | 5 | 39 | 0 | 93 | 0 |  |  |  |  | 25.6332 | 2.0135 | 1.0095 | 0.0068909 | 0.17854 | 0.071804 | 652.1421 | 61.1887 | 79.7835 | 17.9437 | 82.4 | 18.5321 | 0 | 170 | 217.7072 | 33.0503 | 0.33524 | 0.047983 | 84.0437 | 18.8984 | 86.8 | 19.5182 | -300 | 0 | 161.8924 | 49.4818 | 0.25075 | 0.078062 | 54.8027 | 18.203 | 56.6 | 18.8 | -inf | -600 | 184.6835 | 115.5852 | 0.27595 | 0.16418 | 188.6143 | 27.2034 | 194.8 | 28.0956 | 300 | inf | 27.8306 | 9.1645 | 0.044586 | 0.020422 | 81.7199 | 18.1514 | 84.4 | 18.7467 | -300 | 300 | 426.6178 | 96.5057 | 0.65981 | 0.15491 | 79.5898 | 21.454 | 82.2 | 22.1576 | -inf | 170 | 577.2934 | 78.4525 | 0.88159 | 0.046876 | 6 | 9 | 120 | D | 315 | 3.2 | 0.61523 | 1.75 |  |  |  |  | 20010102 |  |  | Test 10 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 10 | Philips | Mx8000 | P03 |  | 2.21 | D |  |  |  |  | CHEST | 100019
4 | GNL MID AX | 1 | 1799 | 0 | 160 | 0 |  |  |  |  | 26.7154 | 0 | 1.0789 | 0 | 0.40424 | 0 | 778.0677 | 0 | 66.8222 | 0 | 61 | 0 | 0 | 170 | 146.6296 | 0 | 0.18845 | 0 | 40.5315 | 0 | 37 | 0 | -300 | 0 | 220.4659 | 0 | 0.28335 | 0 | 59.154 | 0 | 54 | 0 | -inf | -600 | 341.1898 | 0 | 0.43851 | 0 | 314.3927 | 0 | 287 | 0 | 300 | inf | 27.5175 | 0 | 0.035366 | 0 | 66.8222 | 0 | 61 | 0 | -300 | 300 | 394.6377 | 0 | 0.5072 | 0 | 66.8222 | 0 | 61 | 0 | -inf | 170 | 723.0081 | 0 | 0.92924 | 0 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20010102 | 570 |  | Test 5 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 5 | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002
5 | GNL X SLICE | 5 | 1799 | 0 | 160 | 0 |  |  |  |  | 28.3553 | 2.2949 | 1.0555 | 0.031112 | 0.34685 | 0.068498 | 741.0768 | 73.5693 | 103.1909 | 38.0635 | 94.2 | 34.7471 | 0 | 170 | 179.7563 | 39.4863 | 0.24351 | 0.048495 | 88.512 | 48.1019 | 80.8 | 43.9108 | -300 | 0 | 238.8857 | 45.1506 | 0.32391 | 0.056753 | 79.0911 | 28.1032 | 72.2 | 25.6546 | -inf | -600 | 205.3655 | 140.7976 | 0.2711 | 0.17789 | 282.1867 | 44.9885 | 257.6 | 41.0687 | 300 | inf | 42.7643 | 17.981 | 0.059792 | 0.029685 | 104.2864 | 40.3231 | 95.2 | 36.8098 | -300 | 300 | 473.4337 | 111.6895 | 0.64247 | 0.14331 | 99.9046 | 40.2993 | 91.2 | 36.788 | -inf | 170 | 643.5209 | 94.294 | 0.86516 | 0.066569 | 6 | 9 | 120 | LUNG | 360 | 2.5 | 0.70312 | 1.5 |  |  |  |  | 20010102 | 570 |  | Test 5 | 512x512 |  | NLST-LSS | D:\Quick Images\Test Chest\Test 5 | GE MEDICAL SYSTEMS | LightSpeed Plus | G15 |  | LightSpeedApps308I.2_H3.1M5 | BODY FILTER |  |  |  |  | CHEST | 100002